## Slide 1
Heart-Abnormality Detection
Fast CPU screening of normal and abnormal heart sounds from recorded stethoscope audio
Mourad Mohamed Gad
Author
01 Problem
A stethoscope recording contains timing and frequency patterns that can be difficult to judge consistently by ear. This project asks a focused screening question: does a recording resemble the normal or abnormal examples in an open reference dataset?
The output indicates possible abnormality. It does not identify the exact heart disease or replace clinical assessment.
02 Theory
A normal cardiac cycle usually contains repeating S1 and S2 sounds. Murmurs and other abnormalities can change the cycle’s energy, texture, timing or regularity.
Feature extraction summarizes the recording with spectral, timing, MFCC, band-energy, entropy, periodicity and wavelet measurements. Tree models learn which combinations align with each expert label.
03 Dataset
PhysioNet/Computing in Cardiology Challenge 2016. Six source databases contain recordings collected with different equipment in clinical and nonclinical settings. Files use uncompressed mono WAV audio at 2,000 Hz.
3,240
recordings
2,575
normal
665
abnormal
Figure 1. Real recordings used by the project
Waveforms show amplitude over time.
Spectrograms show how sound energy is distributed across frequency.
04 Solution
The pipeline converts every variable-length recording into the same 301-number description. Two complementary tree ensembles then estimate an abnormality probability. An optional three-way output can hold uncertain recordings for review instead of forcing every case into a binary label.
Figure 2. Data and model pipeline
1
WAV recording
One mono heart-sound channel
2
Preprocess
2 kHz, normalize, 20–800 Hz filter
3
Describe the sound
301 numerical features per recording
4
Split the data
2,268 train, 486 validation, 486 test
5
Train and select
Extra Trees and LightGBM; threshold set on validation
6
Screen a new file
Probability, then normal / uncertain / abnormal
05 Model and methodology
Extra Trees: 900 randomized trees. Each node tests one feature and a learned numerical threshold. The ensemble reduces the effect of any single unstable split.
LightGBM: 700 boosting trees with 15 leaves and learning rate 0.025. Each new tree corrects part of the remaining error.
Final probability: 75% Extra Trees and 25% LightGBM. The binary threshold was fixed at 0.295 using validation data.
79.33 s
feature extraction
30.29 s
training + selection
CPU
six workers
No neural-network epochs were used. The complete compute stage took 109.62 seconds on the development computer.
06 Results
Figure 3A. Binary performance on 486 held-out recordings
Chart: 
| Accuracy | Recall | Specificity | Precision | ROC AUC
Percent | 93.6 | 92.9 | 93.8 | 79.3 | 97.5
Figure 3B. Confusion matrix at threshold 0.295
Predicted label
Normal
Abnormal
True normal
True abnormal
363
correct normal
24
false alarms
7
missed abnormal
92
correct abnormal
07 Binary and three-way output
Binary mode reports every case. On the full test set it reached 93.6% accuracy, 92.9% recall and 79.3% precision. The lower precision reflects false alarms in an imbalanced dataset.
Three-way mode marked 104 of 486 recordings as uncertain. Among the 382 accepted predictions, precision was 92.1%, recall 97.2% and specificity 99.1%. These percentages exclude the uncertain cases, so they must be reported together with 78.6% coverage.
08 Interpretation and limits
The labels indicate general cardiac abnormality, not a named disease. The study needs independent clinical validation, and some source databases lack patient identifiers needed for a fully patient-level split.
References
[1] Liu C. et al. Physiol Meas. 2016;37:2181–2213. doi:10.1088/0967-3334/37/12/2181
[2] Geurts P., Ernst D., Wehenkel L. Machine Learning. 2006;63:3–42.
[3] Ke G. et al. LightGBM. Advances in Neural Information Processing Systems 30, 2017.
[4] PhysioNet/CinC Challenge 2016, version 1.0.0. physionet.org/content/challenge-2016/1.0.0/
Notes: Sources: PhysioNet/CinC Challenge 2016 dataset, https://physionet.org/content/challenge-2016/1.0.0/. Liu C et al., An open access database for the evaluation of heart sound algorithms, Physiological Measurement 37 (2016) 2181-2213, doi:10.1088/0967-3334/37/12/2181. Geurts P, Ernst D, Wehenkel L, Extremely randomized trees, Machine Learning 63 (2006) 3-42, doi:10.1007/s10994-006-6226-1. Ke G et al., LightGBM: A Highly Efficient Gradient Boosting Decision Tree, NeurIPS 2017, https://proceedings.neurips.cc/paper/6907-a-highly-efficient-gradient-boosting-decision-tree.pdf. Project results and timing: work/timed_training_model/metrics.json and work/package/CardioScreen/outputs/model_final/selective_metrics.json. Figure 1 was generated from actual project WAV records e01432 and e01623.